| Form 7: IDSE Report for Standard Monitoring Page 1 of 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| I. GENERAL INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A. PWS Information* |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B. Date Submitted* ___________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PWSID: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PWS Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PWS Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | State: |  |  |  |  |  | Zip: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Population Served: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | System Type: |  |  |  |  |  |  | Source Water Type: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Buying / Selling Relationships: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | □ CWS |  |  |  |  |  |  | □ Surface Water or Purchased Surface Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ Consecutive System |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | □ NTNCWS |  |  |  |  |  |  | □ Ground Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ Wholesale System |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ Neither |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C. PWS Operations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residual Disinfectant Type: □ Chlorine □ Chloramines □ Other:______________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Number of Disinfected Sources: ___ Surface ___GWUDI ____ Ground ___ Purchased |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D. Contact Person* |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Title: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Phone #: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Fax #: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E-mail: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| II. STAGE 2 DBPR REQUIREMENTS* |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A. Number of Compliance Monitoring Sites |  |  |  |  |  |  |  |  | B. Schedule |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | C. Compliance Monitoring Frequency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | Select Schedule: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  | During peak historical month (1 monitoring period) |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Total: |  |  |  |  |  |  |  |  |  | DBP2 Compliance Monitoring Begin Month and Year: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ |  |  |  | Every 90 Days (4 monitoring periods) |  |  |  |  |  |  |  |  |  |  |  |  |
| Form 7: IDSE Report for Standard Monitoring Page 2 of 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| III. MONITORING RESULTS* |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A. |  | Did you deviate in any way from your approved standard monitoring plan? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  Yes  No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | If YES, explain (attach additional pages if necessary): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B. |  | Where were your TTHM and HAA5 samples analyzed? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | □ In-House |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Is your in-house laboratory certified? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ Yes □ No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | □ Certified Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Name of certified laboratory: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C. |  | What method(s) was used to analyze your TTHM and HAA5 samples? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | TTHM |  |  |  |  |  |  |  |  |  |  |  |  |  | HAA5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | □ EPA 502.2 |  |  |  |  |  |  |  |  |  |  |  |  |  | □ EPA 552.1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | □ EPA 524.2 |  |  |  |  |  |  |  |  |  |  |  |  |  | □ EPA 552.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | □ EPA 551.1 |  |  |  |  |  |  |  |  |  |  |  |  |  | □ EPA 552.3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ SM 6251 B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Form 7: IDSE Report for Standard Monitoring (PWS ID#: LA ) Page 3 of 7 |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| III. MONITORING RESULTS* |  |  |  |  |  |  |  |  |  |  |  |
| DBP1 and IDSE Standard Monitoring Results for TTHM |  |  |  |  |  |  |  |  |  |  |  |
|  | Site ID1 | Data Type | TTHM (µg/L) |  |  |  |  |  |  | LRAA |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  | 1 Verify that the site IDs for IDSE standard monitoring sites match the site IDs in your Standard Monitoring Plan. |  |  |  |  |  |  |  |  |  |  |
|  | Report the minimum reporting limit (4.0 µg/L for TTHM) if a result is less than the minimum reporting limit. |  |  |  |  |  |  |  |  |  |  |

| Form 7: IDSE Report for Standard Monitoring (PWS ID#: LA ) Page 4 of 7 |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| III. MONITORING RESULTS* |  |  |  |  |  |  |  |  |  |  |  |
| - DBP1 and IDSE Standard Monitoring Results for HAA5 |  |  |  |  |  |  |  |  |  |  |  |
|  | Site ID1 | Data Type | HAA5 (µg/L) |  |  |  |  |  |  | LRAA |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  |  | Sample Date |  |  |  |  |  |  |  |  |  |
|  |  | Sample Result |  |  |  |  |  |  |  |  |  |
|  | 1 Verify that site IDs for IDSE standard monitoring sites match the site IDs in your Standard Monitoring Plan. |  |  |  |  |  |  |  |  |  |  |
|  | Report the minimum reporting limit (6.0 µg/L for HAA5) if a result is less than the minimum reporting limit. |  |  |  |  |  |  |  |  |  |  |

| Form 7: IDSE Report for Standard Monitoring Page 5 of 7 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| IV. JUSTIFICATION OF STAGE 2 DBPR COMPLIANCE MONITORING SITES* |  |  |  |  |  |  |
| ** Do NOT select the same monitoring location more than once! ** Ground water systems serving 500 or greater individuals and Surface water systems serving 3,300 or greater individuals must take dual sample-sets (TTHM-HAA5) at all sites. |  |  |  |  |  |  |
|  | Stage 2 Compliance Monitoring Site ID and Street Address |  | Site Type |  | Justification |  |
|  |  |  | □ Highest TTHM |  |  |  |
|  |  |  | □ Highest HAA5 |  |  |  |
|  |  |  | □ 2nd Highest TTHM |  |  |  |
|  |  |  | □ 2nd Highest HAA5 |  |  |  |
|  | Attach additional copies of this sheet if you need more room. |  |  |  |  |  |

<Public Water System ID#: LA

| Form 7: IDSE Report for Standard Monitoring Page 6 of 7 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| V. PEAK HISTORICAL MONTH AND PROPOSED STAGE 2 DBPR COMPLIANCE MONITORING SCHEDULE |  |  |  |  |  |  |  |
| A. | Peak Historical Month* ______________________ This is the month where most sample sites have the highest TTHM and highest HAA5 results. |  |  |  |  |  |  |
| B. | Is Your Peak Historical Month the Same as in Your IDSE Standard Monitoring Plan? |  |  |  |  |  |  |
|  | □ Yes □ No |  |  |  |  |  |  |
|  | If no, explain how you selected your new peak historical month (attach additional sheets if needed) |  |  |  |  |  |  |
| C. |  | Proposed Stage 2 DBPR Compliance Monitoring Schedule* |  |  |  |  |  |
| Projected Sampling Dates Select the required monitoring frequency for your system: |  |  |  |  |  |  |  |
|  | □ |  | My system is required to monitor: Every 90 days (Select the option that contains the Peak Historical Month) | Projected Sampling Date (date or week) |  |  |  |
|  |  |  |  | Begin Monitoring (Year) | Week |  |  |
|  | □ |  | Jan, April, July, Oct | □ 2013 | □ Week 1 □ Week 2 □ Week 3 □ Week 4 |  |  |
|  | □ |  | Feb, May, Aug, Nov |  |  |  |  |
|  | □ |  | Mar, June, Sept, Dec |  |  |  |  |
|  | □ |  | My system is required to monitor: Once per Year (Provide your Peak Historical Month in the space below) |  |  |  |  |

<Public Water System ID#: LA

| Form 7: IDSE Report for Standard Monitoring Page 7 of 7 |  |  |
| --- | --- | --- |
| VI. DISTRIBUTION SYSTEM SCHEMATIC* |  |  |
| ATTACH a schematic of your distribution system if it has changed since you submitted your Standard Monitoring Plan (Form 6). |  |  |
| VII. ATTACHMENTS |  |  |
|  | □ Additional sheets for explaining how and why you deviated from your standard monitoring plan (Section III). |  |
|  | □ Additional sheets for Standard Monitoring Results (Section III). REQUIRED if you are a subpart H system serving more than 49,999 people or a ground water system serving more than 499,999 people. |  |
|  | □ Additional sheets for Stage 2 DBPR Compliance Monitoring Sites (Section IV). REQUIRED if you are a subpart H system serving more than 249,999 people. |  |
|  | □ Additional sheets for explaining how you selected the peak historical month (Section V). |  |
|  | □ Additional sheets for proposed Stage 2 DBPR peak historical month and compliance monitoring schedule (Section V). REQUIRED if you are a subpart H system serving more than 249,999 people. |  |
|  | □ Distribution system schematic* (Section VI). REQUIRED if it has changed from your approved IDSE standard monitoring plan. |  |
|  | □ Compliance calculation procedures (for Stage 2 Compliance Monitoring Plan). |  |
| Total Number of Pages in Your Report: ______ |  |  |

Note:  Fields with an asterisk (*) are required by the Stage 2 DBPR

Mail this form to:

IPMC

P.O. Box 98

Dayton, OH 45401

<Public Water System ID#: LA

| LRAA Ranking List all LRAA results from highest to lowest. Provide information for ALL sample sites including Stage 1 DBPR and Stage 2 DBPR IDSE monitoring sites. For example, #1 TTHM Ranking means this site has the highest LRAA result. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Site | TTHM Ranking | TTHM LRAA |  | Sample Site | HAA5 Ranking | HAA5 LRAA |
|  | 1 |  |  |  | 1 |  |
|  | 2 |  |  |  | 2 |  |
|  | 3 |  |  |  | 3 |  |
|  | 4 |  |  |  | 4 |  |
|  | 5 |  |  |  | 5 |  |
|  | 6 |  |  |  | 6 |  |
|  | 7 |  |  |  | 7 |  |
|  | 8 |  |  |  | 8 |  |